## Sheet1
Safety Communications ¦ FDA
Date | Issue | Product Area
06/03/2026 | UPDATE: Hintermann Series H3 Total Ankle Replacement Has a Higher-Than-Expected Risk of Device Failure: FDA Safety Communication | Joint Replacement
04/28/2026 | Risks of Using TRUE METRIX Blood Glucose Monitoring Systems by Trividia Health: FDA Safety Communication | Blood Glucose Monitoring System
03/04/2026 | Update: FDA Encourages the Public to Follow Established Choking Rescue Protocols: FDA Safety Communication [Español] [简体中文 (Simplified Chinese)] [Tagalog] | Choking Rescue
10/15/2025 | Potential Risks with Certain Uses of Radiofrequency (RF) Microneedling – FDA Safety Communication | Radiofrequency Microneedling Devices
09/16/2025 | Do Not Use Unauthorized Infant Devices for Monitoring Vital Signs: FDA Safety Communication | Vital Signs Monitor
09/16/2025 | Do Not Use Unauthorized Devices for Measuring Blood Pressure: FDA Safety Communication | Blood Pressure Monitor
04/24/2025 | Update: Risk of False Positive Lead Test Results with Certain Capillary Blood Collection Tubes Used with Magellan Diagnostics LeadCare Testing Systems – FDA Safety Communication (updated on 5/27/2025) | In Vitro Diagnostics
02/05/2025 | FDA Alerts Patients to Regularly Check Diabetes-Related Smartphone Device Alert Settings, Especially Following Phone Hardware or Software Changes [Español] [简体中文 (Simplified Chinese)] [Tagalog] | Diabetes Devices
01/30/2025 | Update: Cybersecurity Vulnerabilities with Certain Patient Monitors from Contec and Epsimed: FDA Safety Communication (updated on 7/2/2025) [Español] [简体中文 (Simplified Chinese)] [Tagalog] | Patient Monitors
12/16/2024 | Update: Accolade Pacemaker Devices by Boston Scientific and Potential Need for Early Device Replacement - FDA Safety Communication (updated on 9/11/2025) [Español] [简体中文 (Simplified Chinese)] [Tagalog] | Pacemakers
10/25/2024 | Update: Do Not Use BioZorb Marker Implantable Radiographic Marker Devices: FDA Safety Communication [Español] [简体中文 (Simplified Chinese)] [Tagalog] | Breast Tissue